## Sheet1
AGATA at GSI Infrastructure Overview Table
30-8-2010
Element	Sub-Elements	Number	Size/Length	Location at GSI	Who at GSI?	Who outside?	At present

Detectors	Triple Cluster	10		S4			5 at LNL
	Double Cluster	5		S4			none

Holding Structure				S4		John Strachan	(design in prog.)

Low Voltage	PSU	15		S4
	Cables	15	15 m	S4

High Voltage	CAEN	1		S4
	HV-Cables	15		S4

LN2-Cooling	cryotubes	15		S4	Ivan
	buffer-tanks	2		S4	Ivan
	Autofill-Station	1		S4	Ivan
	Slow-control	1		S4	Ivan

Connection AGATA	MDR-Cable	280	10 m (?)	S4			LNL
to Digitisers		(7xcrystal)

Digitisers	digitisers	40		S4
	racks (liq.cool.)	2 or 3		S4			(home made?)

Connection Digitizer	optical fibre cable	40	50 m	S4toMesshuette
to Preprocessor

Preprocessing	preprocessors	40		Messhuette
	ATCA crates	8		Messhuette
	racks	4		Messhuette	Henning

Connection PP-DAQ	network

DAQ/Computing	pizza-boxes	40
	racks	4

Data Space	tape robot		TB		Stephane
	disk space		TB		Stephane

UPS		4		S4:Low bias ps, HV, autofill, slow ctrl, digitisers
				Messhuette: preprocessors
				outside: DAQ computers
				detector lab.

Grounding	Copper-Plates			S4	Ivan