## Sheet1
AGATA at GSI Infrastructure Overview Table
30-8-2010
Element | Sub-Elements | Number | Size/Length | Location at GSI | Who at GSI? | Who outside? | At present
Detectors | Triple Cluster | 10 |  | S4 |  |  | 5 at LNL
| Double Cluster | 5 |  | S4 |  |  | none
Holding Structure |  |  |  | S4 |  | John Strachan | (design in prog.)
Low Voltage | PSU | 15 |  | S4
| Cables | 15 | 15 m | S4
High Voltage | CAEN | 1 |  | S4
| HV-Cables | 15 |  | S4
LN2-Cooling | cryotubes | 15 |  | S4 | Ivan
| buffer-tanks | 2 |  | S4 | Ivan
| Autofill-Station | 1 |  | S4 | Ivan
| Slow-control | 1 |  | S4 | Ivan
Connection AGATA | MDR-Cable | 280 | 10 m (?) | S4 |  |  | LNL
to Digitisers |  | (7xcrystal)
Digitisers | digitisers | 40 |  | S4
| racks (liq.cool.) | 2 or 3 |  | S4 |  |  | (home made?)
Connection Digitizer | optical fibre cable | 40 | 50 m | S4toMesshuette
to Preprocessor
Preprocessing | preprocessors | 40 |  | Messhuette
| ATCA crates | 7.6667 |  | Messhuette
| racks | 4 |  | Messhuette | Henning
Connection PP-DAQ | network
DAQ/Computing | pizza-boxes | 40
| racks | 4
Data Space | tape robot |  | TB |  | Stephane
| disk space |  | TB |  | Stephane
UPS |  | 4 |  | S4:Low bias ps, HV, autofill, slow ctrl, digitisers
Messhuette: preprocessors
outside: DAQ computers
detector lab.
Grounding | Copper-Plates |  |  | S4 | Ivan